Tender Document

Supply of Lab Equipment for Chemistry Department

COMSATS University Islamabad

Park Road, Tarlai Kalan, Islamabad

051-9049-5122 / 051-9049-5154

Tender Notice

Supply of Lab Equipment for Chemistry Department.

No.CUI/Proc/TN-(170)/04-22/170

- COMSATS University Islamabad (CUI) Islamabad, a Public Sector Prestigious Educational Organization invites tender from renowned firms/companies registered with Income Tax/Sales Tax Departments and are on Active Tax Payer List of FBR (I.T & GST), for Supply of Lab Equipment for Chemistry Department.

- Tender procedure will base upon “Single Stage-Two Envelope” bidding method as prescribed under PPRA rules.

- The Financial Bids must be accompanied with the earnest money @ 2% of the total bid in the form of Call Deposit/Bank Draft (refundable) drawn in favor of COMSATS University Islamabad (FTN/NTN: 9013701-9).

- Tender documents are available online for the interested firms/parties on PPRA website as well as CUI website which can be downloaded. Interested firms/bidders are required to submit their bids proposals along with tender fee of Rs.500/- (non-refundable) in shape of pay order/DD in favour of CUI Islamabad.

- Sealed tenders (prepared in accordance with instructions of tender documents) must reach at the given address latest by April 26, 2022 at 1100 hrs.

- Only Technical Bids will be opened in public on the same day half hour after the closing time in Room No. G-6, Faculty Block-I, COMSATS University Islamabad, park Road, Islamabad.

In-Charge (Procurement)

COMSATS University Islamabad

2nd Floor, Faculty Block-II, Park Road, Tarlai Kalan, Islamabad,

Tel: 051-90495122, 90495154

Email: fawadhashmi@comsats.edu.pk

Eligibility & Qualification

| Detail | Criteria | Envelope |
| --- | --- | --- |
| Draft of Earnest Money | Mandatory | In Financial Bid |
| Bid /Quotation (Form No.1) (Strictly as per pattern) | Mandatory |  |
| Declaration Form (Form No.2) | Mandatory | In Technical Bid |
| GST and NTN Registered | Mandatory |  |
| Active Tax Payer List (ATL) of FBR Status as “Active” and Compliance Level is 100% | Mandatory |  |
| Proof of Non-Blacklisting: Affidavit on legal paper of appropriate value (duly attested from notary public)/letterhead that the firm/company is neither black listed nor in litigation with any of its public sector client | Mandatory |  |
| Technical Compliance Sheet Provide Technical Compliance Sheet in Tabulated Form specifying the compliance of each and every quoted item with minimum specification of required items mentioned in Bill of Quantity (BOQ) of this document. (For equipment only) | Mandatory |  |
| Brochure Detail of equipment, brands, country of origin with complete specification (For equipment only) | - |  |
| Warranty/Guarantee Terms As per manufacturer warranty (For equipment only) | Mandatory |  |
| Authorized Dealer/Re- Seller The bidder must provide authorized dealership/re-seller certificate of the brand. (For equipment only) | Mandatory |  |
| Professional Experience (Form No. 3) List of executed/ similar contracts in public sector/ government offices/Embassies etc since establishment. (List 03 contracts). Each valid contract = 5 Marks each Total Marks = 15 (For equipment only) Copies of contract agreement/work order etc are mandatory | Marks |  |
| 12. Clientele List List 05 different clients of similar nature contracts. Total Marks = 15 Marks (3 Marks per client) Copies of contract agreement/work order etc are mandatory (For equipment only) | Marks |  |
| Technical Resources & Services Support Mention in detail the in-house resources, facilities and technical support available from the bidder for Installation= (3) up-gradation,= (3) configuration, = (3) commissioning = (3) and after sales services of equipment.= (3) (For equipment only) | 15 Marks |  |

Bids Evaluation Criteria:

- Bids will be evaluated in fair, transparent and non-discriminatory manner. For the purpose of determining the lowest evaluated bid, following above mandatory scales of evaluation shall be taken into consideration for technical and financial bids.

- Failing to fulfill ANY of the Mandatory Requirement will disqualify the bidder from the process.

- To be qualified, securing at least 70% Marks is Mandatory.

- After evaluation/marking of bidders in technical evaluation process, financial bids of technically qualified bidders will only be opened later on prior notice.

- For final grading of bidders towards contract award, lowest bid will be considered for placement of procurement contract.

General Terms & Conditions

. The Terms & Conditions are as under:

No tender will be considered if: ‐

  - Received without required documentation or found incomplete;

  - Received later than the date and time fixed for Tender submission;

  - The Tender is unsigned/ unstamped;

  - The Tender is singed/stamped by the unauthorized agent of the Firm/company;

  - The Tender is from a firm which is black listed or in litigation of some sort with any Public-Sector Organization;

  - The Tender is received by telephone/telex/fax/telegram;

  - Tenders received without earnest money;

  - In contradiction with the specification given by the CUI;

- Suppliers, who are on Active Taxpayers List (ATL) of FBR, both GST and Income Tax are eligible to apply.

- Bidders will have to produce the proof of being a Tax Filer with FBR.

- Income tax as applicable and announced by the Govt. of Pakistan will be deducted at source.

- The payment will be made after successful completion of all items and job, for the item accepted by CUI.

- The tender must accompany earnest money as mentioned in the tender notice, of the total value of the bid in the form of Call Deposit/Bank draft (refundable) drawn in favor of COMSATS University Islamabad.

- The rates must be quoted as per pattern.

- Prices should be valid for 90 days.

- Any attempt by a bidder to influence in the examination, evaluation, comparison, and post qualification of the Bids or Contract award decisions may result in the rejection of its bid.

- CUI reserves the right to accept or reject any or all tenders as per PPRA Rules 33.

- No advance payment will be permissible.

- The Work will be given to lowest evaluated bidder on the basis of lowest evaluated bid. In case the successful bidder(s) refuse to supply the item(s), the earnest money will be forfeited AND a ban from business with CUI for a period of ONE YEAR will be imposed.

- The Supply will be made within 8-12 weeks’ time for lab equipment. For local supplies such as glassware, the supply time is 4 weeks from the date of P.O / W.O.

- In case of delay in delivery, 0.5% of the total bid will be deducted upto 10% (additional 20 days for supply). In case of further delay, CUI will have the right to cancel the Work Order without any further information or communication and earnest money will be forfeited AND/OR a ban from business with CUI for a period of ONE YEAR will be imposed.

- 10% Performance Security would be withheld from the payment till the period of warranty.

- In cases lowest bidder refuses or fails to supply the item(s) within the deadline(s), the Work Order may be offered to the next lowest bidder provided that the difference between the 1st lowest bidder and 2nd lowest bidder (2nd-1st) is less than or equal to the earnest money (General Economic Principle). Same principle for 3rd, 4th lowest bidders and so on.

- In case of defects/non-compatibility/sub-standard at any stage (from supply till validity of warranty period), CUI will inform the bidder within 15 days-time and the bidder will arrange for replacement of the item(s) within 15 days’ time. In case of non-compliance, CUI will arrange the equipment OR part(s) from alternate source(s) and the charges/expense incurred on the equipment/part(s) will be deducted from the earnest money/Invoice/performance Guarantee of the vendor.

- Applicable Income tax and GST will be deducted at source/as per rules. In case of exemption, please mention and attach the proper documentation duly verified from the concerned tax authorities/FBR; however, if CUI will be final authority to accept or reject the exemption certificate and the vendor may claim refund from Tax Authorities/FBR.

- In case of any holiday is announced by the Govt. OR any other unforeseeable circumstances that prevent the tender from being opened on the date announced (Force Majure), the tenders will be opened on the VERY NEXT WORKING DAY. Time and venue of the tender will remain as mentioned in the tender notice.

- In case of Tie in rates, the bidder securing highest technical score in the criteria will be awarded the contract. In case of tie in technical Score, the bidder having the most valued work orders (work orders provided against relevant experience) will be awarded the Work Order.

- The documents prepared by the Bidder as well as all correspondence and documents relating to the Bid shall be in English only.

- The currency of the quotation would be in Pakistan Rupees only.

- In case of calculation error, the unit price will be considered as valid.

- Any proposal/tender received by CUI after the deadline will be returned unopened to bidder concerned. Delays in the mail or courier, delays of person in transit, or delivery of a proposal to the wrong office shall not be accepted as an excuse for failure to deliver a proposal at the proper place and time. It shall be the bidder’s responsibility to determine the manner in which timely delivery of his proposal will be accomplished either in person, by messenger or by mail to the concerned office..

- In case a firm/company submits two bids/options against our tender; the bid with the highest value/amount will be considered.

- Payment will be made as per actual quantity provided/supplied & accepted.

- CUI is authorized to vary quantities at the time of establishing the contract or as decided latterly according to its requirement and budget as per PPRA rules.

- Do not submit any other document other than demanded.

- No request for correction will be entertained after opening of the bid

Form 1 (A)

[Letterhead of the Firm]

| Ref No: |  | NTN: |  |
| --- | --- | --- | --- |
| Date: |  | GST: |  |

Technical Compliance Performa

Supply of Lab Equipment for Chemistry Department

| S.# | Demand Description | Brand Offered (Make/Model/ Country) | Compliance | Non- Compliance | Higher Specification |
| --- | --- | --- | --- | --- | --- |
| 1. | Deionized Water Making Machine Output (25°C) = 60 liters/hour, Flow rate = 1.5-2 liters/minute (with pressure tank), Resistivity (25°C) = 15-18 MΩ.cm, Conductance = <0.1us/cm, Ion rejection rate = 95%-99%, Particles and bacteria rejection rate = >99%, Standard configuration = Main engine (including 1 set of purification column) + 40L pressure tank + endpoint filter + accessory package | Brand Name: ________________________ Model: ______________________________ Country of manufacturing: __________ |  |  |  |
| 2 | Fridge for chemicals (200L) Cabinet type= Vertical Cooling Performance (ºC)= 4/-25 Temperature range (ºC)= Refrigerator= 2 to 8, Freezer = 10 to -25 Capacity= Refrigerator 200 L Power Supply= 220 V/50Hz |  |  |  |  |
| 3 | Rotary Evaporator With diagonal glassware, 210 rpm, manual lift arm Vacuum pump (25l/min Ultimate vacuum 13mbar, operated on 220 Volts) Aspirator with stainless steel water bath with manual control 100°C temperature knob, drain connection at the rear |  |  |  |  |
| 4 | Schlenk line Schlenk line assembly with Five ports Mercury bubbler and paraffin bubbler Moisture trapper Vacuum pump (25l/min Ultimate vacuum 13mbar, operated on 220 Volts) Two thermos with metal stands Argon and/Nitrogen Cylinder Monkey bar for Schlenk line assembly (three quarter size of fume hood) with Iron clamps 12, vacuum pipes, 5 Condensers (24/29)with two neck flask (24/29) of 100 ml x 5 along with glass stoppers, glass adapter 5. | Brand Name: ________________________ Model: ______________________________ Country of manufacturing: __________ |  |  |  |
| 5 | Oven for glassware drying External material: high quality cold rolled steel Internal material: 304 stainless steel Temp. control range: RT+10 - 250 ºC Temperature resolution: 0.1 ºC Temperature fluctuations: ≤+0.5 ºC Temperature uniformity: ≤+2% ºC Inner size (mm): W420 *D350*H350 (minimum) Outer size (mm): W710*D520*H520 (minimum) Carrier bracket: 2 Timing rang 1-9999 minutes |  |  |  |  |
| 6 | Centrifuge Specifications: Maximum Speed 14000 RPM Replaceable rotor with min. volume: 8 x 10 or 4 x 20 mL tube Microprocessor control with LCD display. |  |  |  |  |

| 7 | Glassware |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 1 | Beakers Glass (Pyrex) 20ml |  |  |  |  |
| 2 | Beakers Glass (Pyrex) 50ml |  |  |  |  |
| 3 | Beakers Glass (Pyrex) 100ml |  |  |  |  |
| 4 | Beakers Glass (Pyrex) 250ml |  |  |  |  |
| 5 | Beakers Glass (Pyrex) 100ml |  |  |  |  |
| 6 | Evaporating dishes |  |  |  |  |
| 7 | Funnels 4”, |  |  |  |  |
|  | Funnels 6” |  |  |  |  |
| 8 | Falcon tubes, |  |  |  |  |
| 9 | Erlenmeyer flask/Conical flask (Pyrex) 100ml |  |  |  |  |
| 0 | Erlenmeyer flask/Conical flask (Pyrex) 250ml |  |  |  |  |
| 1 | Erlenmeyer flask/Conical flask (Pyrex) 500ml |  |  |  |  |
| 2 | Graduated Cylinder (Pyrex) Grade A, 10ml |  |  |  |  |
|  | Graduated Cylinder (Pyrex) Grade A, 25ml |  |  |  |  |
|  | Graduated Cylinder (Pyrex) Grade A, 100ml |  |  |  |  |
|  | Graduated Cylinder (Pyrex) Grade A, 250ml |  |  |  |  |
| 3 | Crucible’s ceramics (approx. ~ 80-100ml) |  |  |  |  |
| 4 | Volumetric flask Grade A, 50ml |  |  |  |  |
|  | Volumetric flask Grade A, 100ml |  |  |  |  |
|  | Volumetric flask Grade A, 250ml |  |  |  |  |
| 5 | Pipette Glass Graduated 1ml |  |  |  |  |
|  | Pipette Glass Graduated 2ml |  |  |  |  |
|  | Pipette Glass Graduated 5ml |  |  |  |  |
|  | Pipette Glass Graduated 10ml |  |  |  |  |
|  | Pipette Glass Graduated 25ml |  |  |  |  |

Bid Valid as per given in the terms & conditions.

| Signature: |  |
| --- | --- |
| Name: |  |
| Contact Information: |  |
| Official Stamp: |  |

Form 1 (B)

[Letterhead of the Firm]

| Ref No: |  | NTN: |  |
| --- | --- | --- | --- |
| Date: |  | GST: |  |

Financial Bid

Supply of Lab Equipment for Chemistry Department

| S.N | Detail Specification | Qty | Brand Quoted | Unit price | GST | Total Cost |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | Deionized Water Making Machine Output (25°C) = 60 liters/hour, Flow rate = 1.5-2 liters/minute (with pressure tank), Resistivity (25°C) = 15-18 MΩ.cm, Conductance = <0.1us/cm, Ion rejection rate = 95%-99%, Particles and bacteria rejection rate = >99%, Standard configuration = Main engine (including 1 set of purification column) + 40L pressure tank + endpoint filter + accessory package | 01 | Brand Name: ________________________ Model: ______________________________ Country of manufacturing: __________ |  |  |  |
| 2 | Fridge for chemicals (200L) Cabinet type= Vertical Cooling Performance (ºC)= 4/-25 Temperature range (ºC)= Refrigerator= 2 to 8, Freezer = 10 to -25 Capacity= Refrigerator 200 L Power Supply= 220 V/50Hz | 01 |  |  |  |  |
| 3 | Rotary Evaporator With diagonal glassware, 210 rpm, manual lift arm Vacuum pump (25l/min Ultimate vacuum 13mbar, operated on 220 Volts) Aspirator with stainless steel water bath with manual control 100°C temperature knob, drain connection at the rear | 01 |  |  |  |  |
| 4 | Schlenk line Schlenk line assembly with Five ports Mercury bubbler and paraffin bubbler Moisture trapper Vacuum pump (25l/min Ultimate vacuum 13mbar, operated on 220 Volts) Two thermos with metal stands Argon and/Nitrogen Cylinder Monkey bar for Schlenk line assembly (three quarter size of fume hood) with Iron clamps 12, vacuum pipes, 5 Condensers (24/29)with two neck flask (24/29) of 100 ml x 5 along with glass stoppers, glass adapter 5. | 01 | Brand Name: ________________________ Model: ______________________________ Country of manufacturing: __________ |  |  |  |
| 5 | Oven for glassware drying External material: high quality cold rolled steel Internal material: 304 stainless steel Temp. control range: RT+10 - 250 ºC Temperature resolution: 0.1 ºC Temperature fluctuations: ≤+0.5 ºC Temperature uniformity: ≤+2% ºC Inner size (mm): W420 *D350*H350 (minimum) Outer size (mm): W710*D520*H520 (minimum) Carrier bracket: 2 Timing rang 1-9999 minutes | 02 |  |  |  |  |
| 6 | Centrifuge Specifications: Maximum Speed 14000 RPM Replaceable rotor with min. volume: 8 x 10 or 4 x 20 mL tube Microprocessor control with LCD display. | 01 |  |  |  |  |

Glassware

| SN | Detail Specification | Qty | Unit price | GST | Total Cost |
| --- | --- | --- | --- | --- | --- |
|  | Beakers Glass (Pyrex) 20ml | 12 Qty |  |  |  |
|  | Beakers Glass (Pyrex) 50ml | 12 Qty |  |  |  |
|  | Beakers Glass (Pyrex) 100ml | 12 Qty |  |  |  |
|  | Beakers Glass (Pyrex) 250ml | 12 Qty |  |  |  |
|  | Beakers Glass (Pyrex) 100ml | 12 Qty |  |  |  |
|  | Evaporating Dishes | 12 Qty |  |  |  |
|  | Funnels 4” | 12 Qty |  |  |  |
|  | Funnels 6” | 12 Qty |  |  |  |
|  | Falcon tubes | 100 Qty |  |  |  |
|  | Erlenmeyer flask/Conical flask (Pyrex) 100ml | 12 Qty |  |  |  |
|  | Erlenmeyer flask/Conical flask (Pyrex) 250ml | 12 Qty |  |  |  |
|  | Erlenmeyer flask/Conical flask (Pyrex) 500ml | 12 Qty |  |  |  |
|  | Graduated Cylinder (Pyrex) Grade A, 10ml | 12 Qty |  |  |  |
|  | Graduated Cylinder (Pyrex) Grade A, 25ml | 12 Qty |  |  |  |
|  | Graduated Cylinder (Pyrex) Grade A, 100ml | 12 Qty |  |  |  |
|  | Graduated Cylinder (Pyrex) Grade A, 250ml | 12 Qty |  |  |  |
|  | Crucible’s ceramics (approx. ~ 80-100ml) | 12 Qty |  |  |  |
|  | Volumetric flask Grade A, 50ml | 12 Qty |  |  |  |
|  | Volumetric flask Grade A, 100ml | 12 Qty |  |  |  |
|  | Volumetric flask Grade A, 250ml | 12 Qty |  |  |  |
|  | Pipette Glass Graduated 1ml | 06 Qty |  |  |  |
|  | Pipette Glass Graduated 2ml | 06 Qty |  |  |  |
|  | Pipette Glass Graduated 5ml | 06 Qty |  |  |  |
|  | Pipette Glass Graduated 10ml | 06 Qty |  |  |  |
|  | Pipette Glass Graduated 25ml | 06 Qty |  |  |  |

Bid Valid as per given in the terms & conditions.

| Signature: |  |
| --- | --- |
| Name: |  |
| Contact Information: |  |
| Official Stamp: |  |

Form 2

Declaration Form

(Mandatory)

(This form is to be provided with the Bid. Non-provision of this form will disqualify the bidder from the bidding process)

All the terms & conditions have been carefully read and understood and are hereby unconditionally accepted and it is declared that

I understand that by inserting any condition in my bid consciously or unconsciously will AUTOMATICALLY disqualify me from the bidding process.

All the information furnished by me/us here-in is correct to the best of my knowledge and belief.

I/we have no objection if enquiries are made about the work listed by me/us in the accompanying annexure.

I / We agree that the decision of committee in selection will be final and binding to me/us.

I / We have read the instructions appended to the proforma and I / we understand that if any false information is found at any stage, the committee is at liberty to act in a manner it feels deemed fit, which includes, but not limited to, confiscation of Security/Earnest Money AND/OR imposing a bar/restriction from future business with CUI AND/OR blacklisting.

| Tender No. |  |  |
| --- | --- | --- |
| Name of Firm/ Company |  |  |
| Year of Establishment |  |  |
| Name of Owner/Authorized agent |  |  |
| Office Address |  |  |
| GST No. |  |  |
| NTN. |  |  |
| Valid Telephone No. |  |  |
| Valid E-mail (For Official Correspondence) |  |  |
| Signature & Stamp (Authorized Representative) |  |  |

Table 3-A

Detail of Work Executed since establishment

| SN | Organization & Address | Duration | Contact Information | Amount/Cost |
| --- | --- | --- | --- | --- |

Table 3-B

Detail of Clients

| SN | Organization & Address | Year of work executed | Contact Information |
| --- | --- | --- | --- |

Attach Work Order/Contract Agreement for each of the above in above order as proof.

Bid will be rejected in case of non-provision of proof.

Filling of all fields are mandatory.

Check List (To be filled by Bidder)

Please submit your proposal in the order as below with

proper separators/Proper Binding/Plastic Cover/Staple

| Detail | Status | Bid Envelope | Yes ( | No ( |
| --- | --- | --- | --- | --- |
| ALL Pages signed and Stamped by Bidder | Mandatory |  |  |  |
| Draft of Earnest Money |  | Financial |  |  |
| Bid / Quotation (Form 1 ) |  |  |  |  |
| Declaration Form (Form 2) |  | Technical |  |  |
| GST and NTN Registered |  |  |  |  |
| Active Tax Payer List (ATL) of FBR |  |  |  |  |
| Proof of Non-Blacklisting |  |  |  |  |
| Technical Compliance Sheet |  |  |  |  |
| Brochure |  |  |  |  |
| Warranty/Guarantee Terms |  |  |  |  |
| Authorized/Re-Seller Certificate |  |  |  |  |
| Professional Experience (Form No.3) |  |  |  |  |
| Clientele List |  |  |  |  |
| Technical Resources & Services Support |  |  |  |  |

For queries and further clarification, you may

- Write to us on fawadhashmi@comsats.edu.pk

- Visit us at 2nd Floor, Faculty Block-II, CUI, Islamabad

- Call us at 051-9049-5122 / 051-9049-5154